## Slide 1
Evaluation of sample processing protocols for the analysis of pumpkin leaf metabolites
Statistics
Goals: Compare different extraction and drying protocols to identify the “optimal” sample processing approach
Topics:
  Data quality overview
  Statistical comparisons
  Power analysis

## Slide 2
Statistics
Data Quality Overview
Goal: Calculate and visualize the summary statistics for each metabolite/treatment (Use DATA: Pumpkin data 1.csv)
Calculate:
Mean and standard deviation (sd)
The percent relative standard deviation, %RSD, (sd/mean)*100
Visualize:
The relationship between mean vs. sd, mean and %RSD
Compare mean metabolite values for all treatments
Exercises:
Describe the relationship between analyte mean and sd, mean and %RSD?
Describe what constitutes an “optimal” method?
Which extraction/treatment should be chosen to process further samples?

## Slide 3
Question:
Statistics
Which metabolite has the largest mean, sd and RSD for the 100% MeOH_fresh frozen extraction method?

## Slide 4
Answer:
Statistics
Which metabolite has the largest mean, sd and RSD for the 100% MeOH_fresh frozen extraction method?
mean
sd
RSD (sd/mean)*100

## Slide 5
Question:
Statistics
Is there a relationship between mean and sd, mean and RSD?

## Slide 6
Statistics
Mean and sd are highly correlated
Larger means have larger sd
This effect is also called heteroscedasticity
Mean
SD
Is there a relationship between mean and sd?
Answer:

## Slide 7
Answer
Statistics
%RSD is minimally correlated with the mean, and is useful for:
  Comparing method reproducibility
  Identifying data quality
Mean
%RSD
Is there a relationship between mean and RSD?

## Slide 8
Analytical variance can be used to select optimal workup methods and flag problem analytes.
Statistics

## Slide 9
Data quality
Statistics
Good
~40%
~10,000
Moderate
Bad
Below LOQ (sensitivity)
Mean
%RSD

## Slide 10
Question:
Statistics
Calculate the mean RSD across all analytes for each workup method
%RSD (also called the coefficient of variation or CV) is the sd (variation) scaled by the mean (magnitude).
Removes the relationship between variation and magnitude
Provides a single value which can be used to compare the variation of a measurement among different treatments/samples

## Slide 11
Answer:
Statistics
Calculate the mean RSD across all analytes for each workup method
RSD mean +/- sd and median (min, max)

## Slide 12
Selecting the “optimal” method
Statistics
Optimal can be:
Lowest average %RSD for all measurements
Lowest %RSD for measurements of interest
Largest number of metabolites passing %RSD cutoff
Lowest average %RSD for all measurements passing %RSD cutoff
Count
%RSD (mean ± sd)
Using strategy #4 for metabolites %RSD ≤ 40
Method #2 (ACN/IPA/water 3:3:2) looks optimal…

## Slide 13
Log Mean
Mean
Based on Method #2
Statistics
%RSD ≤ 40
Log Mean
%RSD
Analytes with high signal and high %RSD should be further interrogated for explanations of low reproducibility